# APPENDIX G:  	LABORATORY SELF-INSPECTION CHECKLIST

Department: ………………...	Room: .....................		Principal Investigator: ............................................

Today's Date: ..........................................................      		Telephone No. .......................................................

Certificate of Fitness #.............................................		Expires: ...................................................................

Y = Yes	N = No	N/A = Not Applicable

I. Laboratory signs                       	Y 	N 	N/A

“Laboratory”						

“Flammable Gases”				

“LASER Operating”				

“Radioactive Materials”				

“Water-Reactive Chemicals”			

“Biohazard”						

“Fire Extinguisher”				

“No Smoking”					

“Class IV Laboratory Limits”			

“No Smoking Eating or Drinking in the Lab.”			

“Safe Hood Operation”				

“Eyewash”						

“Safety Shower”					

“Spill Cleanup Materials”				

“Caution-Food Must Not Be Stored In This ...”			

“Store No Flammables Flashing

Below 1000 F.”					

“Caution - Do Not Use For Food”			

“Flammable - Keep Fire Away” +/or

“Corrosive”						

II. Emergency Preparedness:

Emergency telephone numbers posted 			

All exits clear and unobstructed			

Fire Extinguishers:

Locations clearly visible/unobstructed 			

Inspected within the last year			

Correct for flammable hazards present  			

Safety showers present and working			

Eyewash stations present and working			

III. Housekeeping:

Counters & floors are uncluttered 			

Passageways are clear				

Broken glass/syringe disposal containers

provided where needed & clearly labeled 			

No storage within 18" of sprinkler heads 		 	

Warning signs current, no frivolous warnings

are posted						

IV. Compressed Gas

No long-term storage of corrosive gases 			

All cylinders secured in place			

Oxygen & flammable gases are stored

separately from each other			  

Cylinders hydrostatically in the past 10 years			

V.  Mechanical Hazards

Machine guarding is in place (e.g., vacuum

pumps, lock-out/tag-out of equipment 			

VI. Electrical Hazards

Electrical equipment is double insulated or

grounded (e.g., 3-prong plug) 			

Electric cords in good condition 			

Exposed circuits are barricaded when

energized						

Electrical service panels unobstructed			

VII. Ventilation (Lab Hoods):

Hood sash is in place & operable			

Sash is used at proper working height			

Equipment positioned at least 6" into hood			

Airflow unobstructed by equipment./material			

Lab doors are kept closed				

Hood interior is clean and uncluttered			

Airflow indicator is used 				

VIII.  Personal Protective Equipment:	Y 	N 	N/A

Safety goggles are available and worn			

Face shields & safety shields available			

Appropriate gloves are available and used			

Lab coats/aprons are worn				

Appropriate shoes are worn			

Hearing protection worn when noise interferes

with normal speech				

IX. Chemical Storage

Chemical stocks kept at a minimum			

FDNY flammable/combustible liquid limits

are observed 					

Grounding straps used appropriately with

flammable gases/liquids				

Chemical compatibilities are recognized

& observed in storage design 			

Containers and closures are in good condition			

Highly reactive substances are disposed of

before expiration date, or when no longer

needed (THF, Ether …)				

All chemical containers are properly labeled

(chemical name, hazardous properties, date,

name of owner)					

X.  Waste Management		Y 	N 	N/A

Efforts are made to minimize waste generated

(scaling down reaction size, reuse of solvents

when feasible, etc.)				

Waste Containers are sound			

Waste Containers are compatible with waste			

Waste containers properly labeled,

including the words Hazardous Waste? 			

The contents of the container clearly listed			

Container closed with a properly fitting cap			

Waste containers are in secondary

containment trays				

Waste in same secondary containment trays

compatible with each other	    

The waste containers located in the lab

(not in hallway or storeroom)	    

Less than 55 gallons of waste

in the laboratory	    

Waste located away from floor drains or sinks	    

Full containers being taken to the main

accumulation area for proper disposal	    

Hoods are not used for waste disposal	    

XII. Hazards Intrinsic to Our Work:

Y 	N 	N/A

..............................................................			

..............................................................			

..............................................................			

..............................................................			

..............................................................			

..............................................................			

..............................................................			

..............................................................			

..............................................................			

..............................................................			

XI. Spill Cleanup

Lab workers know where spill cleanup

procedures & materials are available			

Lab workers are trained in spill cleanup			

Additional Safety Concerns Observed:

.......................................................................................

.......................................................................................

.......................................................................................

.......................................................................................

.......................................................................................

.......................................................................................

General Comments: ..................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................